## TITLE:	Excavation/Trenching

PURPOSE:	To provide safe and effective means of excavating/trenching.

POLICY:	Prevent employee vulnerability to dangerous and potentially fatal excavation/trenching incidents.  Employees will recognize working in or around excavation areas as a hazardous work environment.

EXCEPTIONS:	I. 	If the excavation/trench is less than 5 feet deep and a trained, competent person’s inspection reveals no indication of a potential collapse, sloping, benching, or shoring is not required.

II.	If the excavation/trench is made in stable rock, sloping, benching, or shoring is not required.

PROCEDURE:

1.	Prior to excavating/trenching, utilities will be located.  Utilities located within 18 inches of the excavation/trench will be exposed by manual excavation.

2.	A trained employee will remain on site during excavation/trenching activities.  The trained employee will inspect excavations/trenches for possible cave-in hazards, hazardous atmospheres, effective protective systems, and other potentially hazardous conditions.  A trained employee will inspect excavations/trenches on a daily basis, after it rains, and after man-made events such as blasting.

3.	Protective cave-in systems will consist of sloping, benching, or shoring:

a.  The sloping angle shall be appropriate for the type of soil:

(1)	Sloping the sides of the excavation/trench to not less than one and one half horizontal to one vertical is an acceptable means of cave-in protection for type C soil:

Type C Soils include previously disturbed soils, granular soils such as gravel, sand and loamy sand, submerged soil, soil from which water is freely seeping, and submerged rock that is not stable.

(2)	Sloping the sides of the excavation/trench to not less than one horizontal to one vertical is an acceptable means of cave-in protection for type B soil:

Type B Soils include angular gravel, dry unstable rock, silt, and silt loam.  These soils may meet the requirements of Type A soils but are fissured or subject to vibration.

(3)	Sloping the sides of the excavation/trench to not less than three quarters horizontal to one vertical is an acceptable means of cave-in protection for type A soil:

Type A Soils are cohesive soils that include clay, silty clay, sandy clay, clay loam and, in some cases, silty clay loam and sandy clay loam. (No soil is Type A if it is fissured, is subject to vibration of any type, or has seeping water.

b.  Benching is permitted in soil types A and B but not C. The type of soil determines the horizontal to vertical ratio of the benched sides.

(1)	Type B Soils:  The bottom vertical height of the trench must not exceed 4 feet for the first bench. Subsequent benches may be up to a maximum of 4 feet vertical.  All subsequent benches must be below the maximum allowable slope for that soil type.  For Type B soils, benching is permitted in cohesive soil only:

(2)	Type A Soils:  The bottom vertical height of the trench must not exceed 4 feet for the first bench. Subsequent benches may be up to a maximum of 5 feet vertical. All subsequent benches must be below the maximum allowable slope for that soil type.

c.  Excavation/trench shoring designed and approved by a registered engineer is an acceptable means of cave-in protection.  The shoring shall be used in accordance with the manufacturer’s recommendations.

d.  When excavating/trenching adjacent to structures (such as buildings), support systems that ensure the stability of adjacent structures are required.  Support systems may include shoring, bracing, or underpinning.  A registered professional engineer will determine if the protection system is sufficient.

4.	Employees will be protected from overhead hazards by keeping materials and equipment at least 2 feet from the edge of the excavation.  Employees working in excavations will wear hard hats.

5.	Excavations greater than 4 feet in depth will be tested for hazardous atmospheres if there is a reasonable suspicion that a hazardous atmosphere may exist.

6.	Adequate means of access and egress (ladders, steps, ramps) shall be provided in excavations greater than 4 feet in depth.  Access/egress will be provided within 25 feet of lateral travel.

7.	Emergency Procedures:

a.	Severed electrical services:

- Do not touch equipment/tools that are in contact with the electrical service

- Do not exit from equipment that is in contact with the electrical service (it may be energized)

- Call 911 if someone is injured

- Provide first aid to the level you are trained (if it is safe to do so)

- Call the utility provider

b.	Severing a gas line:

- Do not start equipment

- Exit the area

- Call 911 if someone is injured

- Provide first aid to the level you are trained (if it is safe to do so)

- Call the utility provider

c.	Employee trapped by cave-in:

- Call 911

- Ensure the excavation is safe to enter

- Manually remove earth/debris

- Provide first aid to the level you are trained (if it is safe to do so)